Nicholls State University

Building Inspection Report

Department/Name of Building_______________________________ Date of Report____________________

Buildings and Yards

1.    Are all areas of the building and surrounding yard kept clean and orderly?       Yes____ No____ N/A____

2.    Are floors, aisles and inside passageways kept clean and dry, and are spills

cleaned up immediately?                                                                               	   Yes____ No____ N/A____

3.    Are floor holes such as drains covered? 					   Yes____ No____ N/A____

4.    Are yards maintained to minimize tripping and falling hazards?		   Yes____ No____ N/A____

5.    Are areas which stay wet or greasy covered with non-slip material?                  Yes____ No____ N/A____

6.    Are floor mats in good repair?                                                                             Yes____ No____ N/A____

7.    Are platforms, storage lofts, balconies, etc. that are more than four feet

above the floor protected with standard guardrails?                                            Yes____ No____ N/A____

Stairs

8.    Are there handrails on all stairways having four or more risers?                        Yes____ No____ N/A____

9.    Are all stairs at least 22 inches wide?                                                                  Yes____ No____ N/A____

10.  Do all stairs have at least seven foot overhead clearance?	Yes____ No____ N/A____

11.	Do stairs angle no more than 50% and no less than 30%?	Yes____ No____ N/A____

Ladders

12.	Do fixed ladders have at least 3.5 feet of extension at the top of the landing?	Yes____ No____ N/A____

13. 	Is the distance between the centerline of rungs on a fixed ladder and the

nearest permanent object in back of the ladder at least seven inches or more? 	Yes____ No____ N/A____

14.	Are step ladders in good repair?	Yes____ No____ N/A____

15.	Is it prohibited to use the top step of an ordinary step ladder as a step?	Yes____ No____ N/A____

Exits and Exit Markings

16.	Are all exists marked with an exit sign illuminated by a reliable source?	Yes____ No____ N/A____

17.	Is the lettering at least six inches high with principle letter strokes at

least .75 of an inch wide?	Yes____ No____ N/A____

18.	Is the direction to exits apparent?	Yes____ No____ N/A____

19.	Are exit door side-hinged?	Yes____ No____ N/A____

20.	Are all doors leading to an exit always free to access with no possibility of

a person being locked in?	Yes____ No____ N/A____

21.	Are all exit routes kept free of obstruction?	Yes____ No____ N/A____

22.	Are exit doors ever chained or tied during periods when buildings are

occupied?	Yes____ No____ N/A____

General Environmental Controls

23.	Are restrooms and washrooms kept in a clean and sanitary condition?	Yes____ No____ N/A____

24.	Are covered receptacles for waste food kept in a clean and sanitary condition?	Yes____ No____ N/A____

25.	Are persons prohibited from eating in areas where toxic materials are present?	Yes____ No____ N/A____

26.	Has pest control been exercised?	Yes____ No____ N/A____

27.	If persons are permitted to eat on premises, are they provided with a suitable

dining place?	Yes____ No____ N/A____

28.	Is all drinking, washing and cooking water suitable for drinking?	Yes____ No____ N/A____

29.	Are no smoking areas properly marked and respected?	Yes____ No____ N/A____

Medical and First Aid

30.	Are adequate first aid supplies readily available, inspected and replenished?	Yes____ No____ N/A____

31.	Is the infirmary readily available for advice and consultation on matters of

health?	Yes____ No____ N/A____

32.	Are emergency phone number posted?	Yes____ No____ N/A____

33.	Where persons are exposed to hazardous chemicals or injurious corrosive

materials, are they provided with emergency eye wash and shower stations?	Yes____ No____ N/A____

34.	Are these emergency eye wash and shower stations inspected on a weekly

basis?	Yes____ No____ N/A____

35.	Are chemical burn first aid kits supplied in areas where persons are exposed

to hazardous materials?	Yes____ No____ N/A____

Fire Protection

36.	Are extinguishers selected for the type of combustible and flammables in

the areas where they are to be used?	Yes____ No____ N/A____

37.	Are extinguishers fully charged and kept in designated places?	Yes____ No____ N/A____

38.	Are extinguishers located along normal paths of travel?	Yes____ No____ N/A____

39.	Are fire extinguisher stations visibly labeled?	Yes____ No____ N/A____

40.	Are all extinguishers checked monthly to see if they are in place, if they have

been discharged, etc.?	Yes____ No____ N/A____

41.	Have extinguishers been hydrostatically tested according to schedules set

for the type of extinguisher?	Yes____ No____ N/A____

42.	Are flammable materials stored away from heat sources?	Yes____ No____ N/A____

43.	Is emergency lighting in good repair?	Yes____ No____ N/A____

Automatic Sprinkler Systems

44.	Are the sprinkler systems periodically inspected and continuously

maintained?	Yes____ No____ N/A____

45.	Is the clearance between sprinkler deflectors and the top of storage at least

18 inches?	Yes____ No____ N/A____

46.	Are water flow alarms provided on all sprinklers?	Yes____ No____ N/A____

47. 	If fire hoses are present, are they in good condition, stored properly with

clips attached?	Yes____ No____ N/A____

Electrical Wiring

48.	Have exposed wires, frayed cords and deteriorated insulation been reported

or repaired?	Yes____ No____ N/A____

49.	Are electrical equipment controls accessible?	Yes____ No____ N/A____

50.	Do all extension cords being used have a ground wire?	Yes____ No____ N/A____

51.	Are all extension cords being used of appropriate wiring to carry the current

being drawn?	Yes____ No____ N/A____

52.	Are junction boxes, outlets, switches and fittings in good repair, and covered

when necessary?	Yes____ No____ N/A____

53.	Are junction boxes and breaker boxes properly labeled?	Yes____ No____ N/A____

54.	Has loose fitting or broken conduit been reported?	Yes____ No____ N/A____

55.	Are all electrical appliances such as vacuums, polishers, and vending 						machines grounded?	Yes____ No____ N/A____

56.	Are all portable, electrical hand tools grounded? (Double insulated tools						are acceptable without grounding)	Yes____ No____ N/A____

General Safety

57.	Is the supervisor aware of an active , written safety program, and has taken

steps to implement it?	Yes____ No____ N/A____

58.	Does the supervisor inspect his area and equipment on a regular basis?	Yes____ No____ N/A____

59.	Is equipment used in a proper manner as not to make it unsafe to use?	Yes____ No____ N/A____

60.	Does the supervisor coordinate with other departments to report damaged,						faulty, or unsafe equipment, and unsafe practices?	Yes____ No____ N/A____

If “No” answers were checked, please explain. Also, record your suggestions and recommendations to remedy the problem. List the number of the problem cited.

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Submitted by: __________________________________________ Date: __________________

Reviewed by: __________________________________________ Date: __________________

Department Head/Supervisor

Reviewed by: __________________________________________ Date: __________________

Dean

Copy to: University Safety Officer